Strawman NASTER Mid-IR Requirements:

Spectral Limits (SL): ( 3.5 to ( 15 (m

Spectral Resolution (SR): Selectable from ( 0.25 to 1.25 cm-1

Field of Regard (FOR): ( 2 km from 20 km flight altitude

Ground Resolution (GR):  Contiguous at ( 500 meters from 20 km flight altitude within a single FOR

Cross-track Scan Coverage (CTSC):  Selectable from 2.0 km to (20 km, depending on spectral resolution, from 20 km flight altitude for an aircraft speed of 400 kts

Along-track Scan Coverage (ATSC): FOR contiguity at 20 km for an aircraft speed of 400 kts

Noise Equivalent Temperature (NedT): Spectrally random brightness temperature error ( 0.25K @ 0.25 cm-1 spectral resolution within the spectral range of 4.5 to 14 (m for a scene temperature of ( 260 K.

Absolute Error (AE): Absolute brightness temperature error ( 0.5K within the spectral range of 4.5 to 14 (m for scene temperatures within the 200-300 K range.

Scan Angle Coverage (SAC):  Selectable over a range from Zenith (180() to Horizontal (at either + or - 90() to any combination of a set of viewing angle steps which together provide contiguous coverage over a range from ( 50 degrees about Nadir (0().

Calibration Sources:  Warm Blackbody, Ambient Blackbody, Zenith Sky View

Lifetime:  ( 10 years through parts replacement over time

Design type: Modular to allow for detector, spatial and spectral resolution, and data system upgrades as technology matures throughout the lifetime of the NASTER

Operational Requirements: Command Uplink/Data Downlink via over-the-horizon communications

Aircraft Compatibility:  ER-2 (20 km), Proteus (17km), Global Hawk (20 km), WB-57 (18 km), and, if feasible, the new SCI space plane “Spaceship 1” (55km).